Manager’s

Pool Safety Checklist

- Are all pool area gates self-closing and self-latching?

If not, a serious risk of a small child drowning exists.

- Are life ring and rescue pole present and in good repair?

If not, tremendous liability risk if an accident should occur.

- Are drain covers in pool/spa secure and in good repair?

If not, a risk of suction entrapment exists. Pool area should be closed until repair is complete.

- Is water clarity adequate to see main drain covers clearly?

If not, the pool must be closed until clarity is restored.

- Are furniture and planters at least 4’ away from pool edge?

The Health Dept. requires 4’ of clearance around all pools and spas.

- Is equipment room floor dry?

If not, there’s a leak that must be addressed.

While these are not the only concerns involving commercial pools and spas, they are among the highest liability exposure.  Using this checklist a manager can easily check these items during a normal walk through in very little time.